Drop Tube Length Calculator ____________ = Measured distance from top of riser pipe to bottom of tank. - 6 inches = . = = Required length of drop tube. INSTALLATION INSTRUCTIONS FOR 2” FIG. 539AS DIFFUSER 539AS-0207 PP, Rev A 24th and Elm Street  Dubuque, IA 52001 Ph: 800-553-4840 Fax: 563-583-5028 Email: custserv@morbros.com - Check drop tube. This method is for a drop tube with an outside diameter of no more than 2”. - Measure the distance from the top of the riser pipe to the bottom of the tank. - Using the Drop Tube Length Calculator at right, calculate the length of the drop tube and cut the end of the drop tube square. (Cut end of drop tube should be 6 inches from bottom of tank.) - Place the attached Hole Location Template onto the tube so the bottom edge of the sheet is flush with the bottom edge of the tube. - Using the template, lightly punch hole locations and drill through the tube with a 7/32” drill. - Remove the template from the drop tube. - Place nut clips on tube and align with holes in tube. - Place diffuser on tube, align holes and secure with enclosed screws.

Drop Tube Length Calculator ____________ = Measured distance from top of riser pipe to bottom of tank. - 6 inches = . = = Required length of drop tube. INSTALLATION INSTRUCTIONS FOR 2” FIG. 539AS DIFFUSER 539AS-0207 PP, Rev A 24th and Elm Street  Dubuque, IA 52001 Ph: 800-553-4840 Fax: 563-583-5028 Email: custserv@morbros.com - Check drop tube. This method is for a drop tube with an outside diameter of no more than 2”. - Measure the distance from the top of the riser pipe to the bottom of the tank. - Using the Drop Tube Length Calculator at right, calculate the length of the drop tube and cut the end of the drop tube square. (Cut end of drop tube should be 6 inches from bottom of tank.) - Place the attached Hole Location Template onto the tube so the bottom edge of the sheet is flush with the bottom edge of the tube. - Using the template, lightly punch hole locations and drill through the tube with a 7/32” drill. - Remove the template from the drop tube. - Place nut clips on tube and align with holes in tube. - Place diffuser on tube, align holes and secure with enclosed screws.

Drop Tube Length Calculator ____________ = Measured distance from top of riser pipe to bottom of tank. - 6 inches = . = = Required length of drop tube. INSTALLATION INSTRUCTIONS FOR 2” FIG. 539AS DIFFUSER 539AS-0207 PP, Rev A 24th and Elm Street  Dubuque, IA 52001 Ph: 800-553-4840 Fax: 563-583-5028 Email: custserv@morbros.com - Check drop tube. This method is for a drop tube with an outside diameter of no more than 2”. - Measure the distance from the top of the riser pipe to the bottom of the tank. - Using the Drop Tube Length Calculator at right, calculate the length of the drop tube and cut the end of the drop tube square. (Cut end of drop tube should be 6 inches from bottom of tank.) - Place the attached Hole Location Template onto the tube so the bottom edge of the sheet is flush with the bottom edge of the tube. - Using the template, lightly punch hole locations and drill through the tube with a 7/32” drill. - Remove the template from the drop tube. - Place nut clips on tube and align with holes in tube. - Place diffuser on tube, align holes and secure with enclosed screws.

Drill Hole (3x) (Align this edge with bottom of tube) Hole Location Template 539AS-0207 PP, Rev A

Drill Hole (3x) (Align this edge with bottom of tube) Hole Location Template 539AS-0207 PP, Rev A

Drill Hole (3x) (Align this edge with bottom of tube) Hole Location Template 539AS-0207 PP, Rev A

Drill Hole (3x) (Align this edge with bottom of tube) Hole Location Template 539AS-0207 PP, Rev A

Drill Hole (3x) (Align this edge with bottom of tube) Hole Location Template 539AS-0207 PP, Rev A

Drill Hole (3x) (Align this edge with bottom of tube) Hole Location Template 539AS-0207 PP, Rev A

Drill Hole (3x) (Align this edge with bottom of tube) Hole Location Template 539AS-0207 PP, Rev A

Drill Hole (3x) (Align this edge with bottom of tube) Hole Location Template 539AS-0207 PP, Rev A